## Slide 1: Machine Learning approaches for accelerating antibiotic susceptibility testing (AST) in microfluidic systems
Eduarda Santos
PG 58815

## Slide 2
Why is AST important?
MIC value

## Slide 3
New technologies for AST
Hydrophilic polymer coating
Antibiotic loaded in thin-film on hydrophilic polymer
i. Sample drawn up by capillary action
ii. Reagent released and mixed into sample
Step 1: Bacteria loaded test dip strip
Fluoropolymer capillary wall
Step 2: Test strip dipped into sample
Sample
Reis et al., Lab Chip, 2016
Continuous MicroCapillary FiIm (MCF)

## Slide 4
Rapid AST in the Microcapillary Film
~5×105 CFU/mL E. coli
PC
0.5
1
2
4
8
16
32
64
128
Ampicillinconc. (µg/mL)
BMD
5 mm
500 µm
MIC
Current methods:
16-24h to determine MIC
MCF:
Time for interpretation of AST or MIC results was established to correspond to 2×tc (12h).
Reference mean time to reach the cut-off signal of 0.14 in non-antibiotic microcapillaries as tc, when the growth rate in antibiotic-containing microcapillaries dropped by 50% (comparison with the non-antibiotic capillary);

## Slide 5
Research question and objectives
Can machine learning models use early GVR time-series data to predict which capillaries in an antibiotic concentration will remain inhibited at the endpoint, allowing early estimation of the MIC (minimum inhibitory concentration)?
GVR = (AbG(sample) – AbG(reference)) / AbG(reference)
    AbG (sample): Colour intensity with bacteria and antibiotics.
    AbG (reference): Colour intensity of the medium alone.
Signal Quantitation
Objectives:
Organise data from experiments containing all the GVR related to several combinations of bacteria type, bacteria concentration, time, antibiotic type, and antibiotic concentration in Python.
Test different machine learning models using Python software;
Design features for the models;
Compare different models;
Evaluate the models and compare them with experimental data.

## Slide 6
Data organisation
E. coli
S. aureus
ampicillin
ciprofloxacin
gentamicin
tetracycline
trimethoprim
sulfamethoxazole
Bacteria's
Antibiotics
Experiments
Bacterial Concentrations
Time Frame
5e6, 5e5, 5e4
5e6, 5e5, 5e4
5e5
5e6, 5e5, 5e4
5e5
5e6, 5e5, 5e4
5e6, 5e5, 5e4
5e6, 5e5, 5e4
5e5
5e6, 5e5, 5e4
5e6, 5e5, 5e4
9
5
3
5
3
5
9
7
3
5
3
11h – 18.17h
33.17h – 59.83h
21h – 39.67h
22.83h – 41.17h
21h – 39.67h
23.83h – 41.17h
29.17h – 42.5h
19.17h – 40.0h
21h – 39.5h
25h – 41.17h
17h – 41.17h
Dataframe Size
E. coli – Ampli: 8420 rows
E. coli : 45580 rows
Dataframe Size
S. aureus: 65928 rows
27 Experiments
30 Experiments

## Slide 7
Machine learning Features
Dataset shape: (8420, 13)
Raw dataset loaded successfully.
C:\Users\eduar\AppData\Local\Temp\ipykernel_26860\1061659367.py:3: RuntimeWarning: divide by zero encountered in scalar divide return ((atual - anterior) / anterior) * 100
Missing values per column: experiencia 0 tubo_id 0 tempo 0 antibiotico 0 concentração 0 gvr 0 std_inicial 0 std_atual 0 std_tubo 0 slope 0 delta 0 AUC 0 Derivada 0 auc_por_tempo 0 delta_por_tempo 0 Derivada_por_tempo 0 gvr_media 0 gvr_max_tubo 0 gvr_min_tubo 0 gvr_max_experiencia 0 gvr_min_experiencia 0 growth_score 0 growth_score_exp 0 label 0 dtype: int64 Dataset shape: (8420, 24)
experiencia 20230508_5e6 tubo_id 20230508_5e6_Positive control tempo 0.0 antibiotico Ampicillin concentração Positive control gvr 0.069883 std_inicial 0.008784 std_atual 0.008784 std_tubo 0.0 slope 0.0 delta 0.0 AUC 0.0 Derivada 0.0 auc_por_tempo 0.0 delta_por_tempo 0.0 Derivada_por_tempo 0.0 gvr_media 0.066011 gvr_max_tubo 0.069883 gvr_min_tubo 0.069883 gvr_max_experiencia 0.077113 gvr_min_experiencia 0.048811 growth_score 0.0 growth_score_exp 0.0 label 1 Name: 0, dtype: object
Dataset saved successfully. Shape : (8420, 24) Labels : {'1': 4949, '0': 3471}
Concentration | Time | GVR | Inicial Std | Current Std
Tube Std | Slope | Delta | AUC | Derivative
Derivative Per Time | Delta Per Time | AUC Per Time | GVR Max Tube | GVR Min Tube
GVR Min Experience | GVR Max Experience | GVR Average | Growth Score Exp | Growth Score
Experience | Tube id | Antibiotic | Label

## Slide 8
Machine learning model training
Data Preparation | Identifiers and antibiotic concentration removed from feature set
Model Selection | Evaluate models - accuracy, ROC-AUC, F1, precision, recall, confusion matrix, cross validation
Temporal Analysis | Best model tested per time point to identify earliest reliable prediction
Feature Refinement | Iterative feature engineering and model optimisation
Validation Strategy | Pipeline developed on E. coli - ampicillin subset, then scaled to full E. coli dataset

## Slide 9
Model Comparison
E. coli - Ampicillin Models
E. coli Models
E. coli - Ampicillin Chosen Model
E. coli Chosen Model

## Slide 10
Ampicillin Testing
Accuracy over time: E. coli Ampicillin-only training (left) vs. All antibiotics training (right).

## Slide 11
All antibiotics testing
Accuracy over time across the five antibiotics (Ciprofloxacin, Gentamicin, Tetracycline, Trimethoprim, Ampicillin) - Model trained with all E. coli data.

## Slide 12
Conclusion
Traditional AST
MC-AST
ML Model
16h – 24h
12h
10h